Board Measurements for Enclosure

FPGA:

L*W*H

3.5’’ x 3.5’’ 0.5’’

Power Board: Has AC to DC converter barrel jack

L*W*H

2 ¾ ‘’ * 3.5’’ *0.5’’

Filter Board:

Contains BNC Jacks

L*WL*H

4 2/8 * 1 ⅝ * 1 ⅛

BNC Jack width

Separation end to end: 2 2/4’’

1cm diameter

MCU Board:

L*W*H

3.5’’ * 1.25 ‘’ 0.75’’’

Wiring Layout:

MCU → FPGA →Filter Board →PowerBoard

| 3.2.2.1 | Mass | The Arbitrary Waveform Generator shall have a total mass less than or equal to 2.5 kg including the enclosure, PCBs, and connectors | Measure the system with a scale |
| --- | --- | --- | --- |
| 3.2.2.2 | Volume Envelope | The volume envelope of the AWG shall not exceed 12 in. (length) × 8 in. (width) × 10 in. (height) | Measure the system with a ruler |
| 3.2.2.3 | Mounting (External) | The AWG enclosure shall be self-supporting for tabletop use, with optional screw holes or slots to allow attachment to a larger test fixture if needed | Place the assembled enclosure on a flat surface and verifying stable tabletop support and mechanical compatibility with optional mounting holes |

- Make Longer Wire harnesses for FPGA to filter board